## Slide 1
Method of Moments based on a surface admittance operator (MoM-SO):
An Introduction
Adilton Junio Ladeira Pereira
adt@ufmg.br
Programa de Pós-Graduação em Engenharia Elétrica (PPGEE-UFMG)
Belo Horizonte, julho de 2024

## Slide 2
Agenda
Introduction
    Motivation
    Differential Surface Admittance Concept
Wires Surrounded by a Homogeneous Lossless Medium
    Problem Statement
    Surface Admittance Operator
    Electric Field Integral Equation
    Analytic Evaluation of Discrete Green’s Function
p.u.l. Impedance
    Partial p.u.l. Impedance
    Total p.u.l. Impedance
Case Studies
    Bifilar Line
    Coaxial (single core) Cable

## Slide 3
MoM-SO is a numerical technique for calculating the series impedance matrix, , of systems with round conductors (wires and cables) which takes into account both skin and proximity effects.
Analytical formulation accounts only for the skin effect, assuming a symmetrical distribution of current in all conductors. However, the proximity effect can significantly affect transient voltages and should therefore be considered [1].
The surface-based approach operator (SO) requires only the discretization of the surface of the conductors, in contrast with volume-based approaches that mesh the entire cable cross-section, such as finite elements and conductor partitioning [2].
Motivation
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies

## Slide 4
On the boundary , consider the tangencial component of the magnetic field, [3]
Differential Surface Admittance Concept
Inside , the longitudinal componente of the electric field satisfies the Helmholtz equation:
with
Original Problem
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies

## Slide 5
Applying the Equivalence Principle [4], suppose that the constitutive parameters of the conducting cylinder are replaced by those of the medium outside the conductor.
Differential Surface Admittance Concept
with
Equivalent Problem
The corresponding fictitious electric field in , , now satisfies
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies

## Slide 6
To ensure a unique field solution, it suffices to introduce an equivalent surface current density, , related to the tangencial components of the field on the boundary, .
Differential Surface Admittance Concept
Equivalent Problem
By means of the differential surface admittance operator, :
The Dirichlet–Neumann operators, and , establish the boundary conditions on in relation to the values of the normal derivatives of the fields [3].
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies

## Slide 7
Multiconductor transmission (MTL) line with parallel solid cylindrical conductors and parallel hollow cylindrical conductors.
Problem Statement
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies
The impedance matrix, , of parallel conductors satisfies the Telegrapher’s equation [5]:
with
, per unit length (p.u.l.) resistance matrix;
, per unit length (p.u.l.) inductance matrix;
, potencial vector;
, current vector;
Simplifying assumptions of the 2D quasi-TM approach:
the conductors are invariable along the direction (uniform transmission line),
the cross-section of each conductor is much smaller than the wavelength at the frequencies of interest.

## Slide 8
Surface Admittance Operator of the MTL
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies
In the MoM-SO, the conductors are replaced by the surrounding medium and equivalent currents, , on each conductor’s boundary, .
The longitudinal electric field on the boundary of the conductors, , can be expand by a truncated Fourier series:
governs the accuracy of the field representation inside the conductor. By setting , the electric field is assumed to be circularly-symmetric.
Fourier coefficients are one of the unknown variables in the MoM-SO formulation.

## Slide 9
Surface Admittance Operator of the MTL
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies
If th-conductor is solid,
otherwise, if th-conductor is hollow then,
The electric field coefficients from all surface conductors can be assemble into a global vector of unknowns, .
The size of is , where

## Slide 10
Surface Admittance Operator of the MTL
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies
The equivalent surface current on the boundary of the conductors, , can be expand by a truncated Fourier series:
The scaling factor has been introduced to make the coefficient equal to the current flowing in the -th conductor [6].
In a similar manner, we collect all the Fourier coefficients of the equivalent currents into a global vector

## Slide 11
Surface Admittance Operator of the MTL
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies
At this point, we can relate vectors and by a global surface admittance operator, , as
where is a block diagonal matrix; is the sub-matrix of the surface admittance operator of the solid conductor; and , , e are those of the hollow conductor.
solid conductors
hollow conductors
Recalling that,

## Slide 12
Surface Admittance Operator of the MTL
Introduction
Lossless Medium
p.u.l. Impedance
Case Studies
,
, , , e are diagonal matrices with entries:
is the Bessel function of the -th order of the first kind;
and denote Hankel functions of the -th order, respectively, first and second kind;
and are the derivatives of the Hankel functions and , respectively.
for

## Slide 13
REFERENCES
[1] U. R. Patel, B. Gustavsen and P. Triverio, "An Equivalent Surface Current Approach for the Computation of the Series Impedance of Power Cables with Inclusion of Skin and Proximity Effects," in IEEE Transactions on Power Delivery, vol. 28, no. 4, pp. 2474-2482, Oct. 2013, doi: 10.1109/TPWRD.2013.2267098.
[2] U. R. Patel, B. Gustavsen and P. Triverio, "Proximity-Aware Calculation of Cable Series Impedance for Systems of Solid and Hollow Conductors," in IEEE Transactions on Power Delivery, vol. 29, no. 5, pp. 2101-2109, Oct. 2014, doi: 10.1109/TPWRD.2014.2330994.
[3] D. De Zutter and L. Knockaert, "Skin effect modeling based on a differential surface admittance operator," in IEEE Transactions on Microwave Theory and Techniques, vol. 53, no. 8, pp. 2526-2538, Aug. 2005, doi: 10.1109/TMTT.2005.852766.
[4] R. F. Harrington, Time-harmonic electromagnetic fields. New York, NY: McGraw-Hill, c2001. xiii, 480 p.
[5] C. R. Paul, Analysis of Multiconductor Transmission Lines, 2nd ed. Hoboken, NJ, USA: Wiley, 2007.
[6] U. R. Patel, A Surface Admittance Approach For Fast Calculation of the Series Impedance of Cables Including Skin, Proximity, and Ground Return Effects. 2014. University of Toronto, Graduate Department of The Edward S. Rogers Sr. Department of Electrical & Computer Engineering.

## Slide 16
Patel’s auxiliary vector
Applying the Cosines’ Law:

## Slide 17
The outer boundary of the p-th solid conductor is traced by the position vector:
The inner boundary of the q-th hollow conductor is traced by the position vector:
The distance between conductors